tech-check specs interiors  I Division 01

This is a template, so some items will apply to your project, and others won’t or will be missing.

When using the list, make the changes needed for your project.

The content of the Tech-Check Lists is based on our specs and MASTERSPEC®.

DIVISION 01 - GENERAL REQUIREMENTS

| ## ◻ | ## GENERAL FOR ALL SECTIONS |
| --- | --- |
|  | - Find out right away the following: - if there is a GC on board. - If the project is LEED. - NOTIFY THE SPECIFIER ONE WAY OR ANOTHER - Send out the form for Owner’s requirements for “Extra Materials” (coordinate with Owner’s facility manager.) |
| ## ◻ | ## Section 011000 - summary |
|  | - Check that the following is correct and included: - Project name and Address. - Owner’s legal name and address (check with Google). - Issue Number, Description (Issue for Bid, Addendum A, etc.) and date of issue. - Brief description of work matches Cover Sheet. - Project data matches Cover Sheet. - Owner’s requirements for use of the site are recorded, if any. - Non-smoking provision is included. - Statement of conditions of use of our files is included. - Requirements for occupied building are included. - Project directory is the latest edition. - LEED PROJECTS: A sentence describing that the project is seeking LEED certification and type of LEED is included. |
| ## ◻ | ## 011200 - delegated design work |
|  | - This section is RMW’s and should be included ALWAYS!. - Except for listing the information of parameters for structural calculations (ask the structural engineer for these) DO NOT CHANGE; it should be included always! |
| ## ◻ | ## 012500 - substitutions procedures |
|  | - Check that the following is included: - The procedure for submitting Requests for Substitution is correct and the image of the Substitution Request is included. - There is a clause stating that RMW will consider additional services the review of a Request for Substitution more than two times. - Requests for Substitution are submitted as PDF’s, completed, and signed by the Contractor or will be rejected. - LEED PROJECTS: Check that the LEED paragraphs are included. |
| ## ◻ | ## 012600 - contract modification procedures |
|  | - This section is RMW’s and should be edited to match RMW’s Bulletin Form procedures. - Make sure the image of the Bulletin is included. |
| ## ◻ | ## 012900 - payment procedures |
|  | - Ask PM if we are managing Applications for Payment and, if so, how. - NOTIFY THE SPECIFIER one way or the other. |
| ## ◻ | 013100 - PROJECT MANAGEMENT AND COORDINATION |
|  | - Make sure all paper submittals are requested in PDF format. - The section has an article on coordination drawings. Please read and see if it matches the project requirements. - Check that the following articles are included: - RFIs procedures - Architect’s digital files procedures. - LEED PROJECTS: Requirements for LEED Coordination Meeting requirements and required LEED submittals throughout are included. |
| ## ◻ | ## 013200 - CONSTRUCTION PROGRESS DOCUMENTATION |
|  | - Contractor’s Construction Schedule is Gantt. - Project reports regarding schedule are as applicable to the Project. |
| ## ◻ | ## 013300 - SUBMITTAL PROCEDURES |
|  | - Requirement for a Submittal Schedule is included and format matches project type. - Procedure for handling Architect’s Digital Data Files is included and coordinated with Josh. - Deadline for review of submittals is given in working days and time for reviewing is applicable to the projec. - Requirement for submitting before 1:00 PM is included. - Descriptions of submittals are edited for the project type. - “Delegated Design Services” paragraph is included. - MSDS no-review clause is included. - LEED PROJECTS: Check that the LEED paragraphs are included. |
| ## ◻ | ## 014000 - QUALITY REQUIREMENTS |
|  | - “Delegated Design Services” paragraph is included. |
| ## ◻ | ## 015000 - TEMPORARY FACILITIES AND CONTROLS |
|  | - Payment for utilities charges is coordinated with Owner or CM. - Requirements for temporary facilities are minimum requirement and coordinated with the Project. - Requirements for building exterior are deleted from interiors projects. - LEED PROJECTS: Check that the LEED paragraphs are included. |
| ## ◻ | ## 016000 - PRODUCT REQUIREMENTS |
|  | - Check that the “Warranties” paragraph is included. - Make sure the paragraphs describing “Basis of Design” selection of products is included. - LEED PROJECTS: Check that the LEED paragraphs are included. |
| ## ◻ | ## 017300 - EXECUTION |
|  | - Check that section paragraphs referencing building construction are deleted for interiors. - LEED PROJECTS: Check that the LEED paragraphs are included. |
| ## ◻ | ## 017419 - CONSTRUCTION WASTE MANAGEMENT AND DISPOSAL and FORMS |
|  | - Check that requirements Waste Management Plan is included. - Check that sample forms are included. - LEED PROJECTS: Check that the LEED paragraphs are included. |
| ## ◻ | ## 017000 - CLOSEOUT procedures |
|  | - Check that the Substantial Completion and Final completion are included. - Check that the paragraphs that additional inspections will be charged as additional services. - NOTE that the CONTRACTOR prepares the PUNCH LIST to be edited by us. We can prepare our know if you prefer, but is better if the contractor does it. |
| ## ◻ | ## 017823 - OPERATION AND MAINTENACE DATA |
|  | - Make sure operation and maintenance data is submitted in electronic format in addtion to paper (paper only if requested by Owner. |
| ## ◻ | ## 012839 - PROJECT RECORD DOCUMENTS |
|  | - Check what we are required to do (i.e. pick-up the “as built” mark-us from the contractor). - Check the form of submittal is PDF unless otherwise directed by Owner. |
| ## ◻ | ## 017900 - DEMONSTRATION AND TRAINING |
|  | - Coordinate all the requirements with Owner or CM so they can organize the training events they want. - Coordinate with technical reps to include special requirement in the respective sections. |

## END OF TECH-CHECK LIST